## Cover
SECI CfD-I bid model: 100 MW × 2 h assured peak supply
Strike price to bid ₹11.29/kWh for a 14.00% equity IRR · SCD 01 May 2028 · term to 01 May 2043
Prepared 2026-10-24 by Demo · CfD bid (FDRE)
Bid and returns
Strike price to bid (₹/kWh, two decimals) | 11.29
Strike price for the target IRR (exact) | 11.2808
Equity IRR | 14%
Project IRR | 10.4%
Minimum DSCR | 1.1604
Average DSCR | 1.6063
Levelised cost of supply (₹/kWh) | 10.938
Total capex (₹ cr) | 662.9219
of which SECI's charges with GST (₹ cr) | 1.4219
Letter of Credit to SECI (₹ cr) | 0
EMD bank guarantee (₹ cr, RfS 17) | 14.48
PBG (₹ cr, RfS 18.1) | 36.2
Net worth required (₹ cr, RfS 37.1) | 144.8
Turnover required, or PBDIT, or line of credit (₹ cr, RfS 37.2) | 42.37 / 8.47 / 10.59
Contracted capacity (MW) | 100
Battery (MW) | 100
Battery (MWh) | 200
Own solar (MWac) | 100
Own wind (MW) | 0
Effective Date | 01 Feb 2027
SCD (battery, supply starts) | 01 May 2028
Own RE commissioned | 01 Feb 2030
Term ends | 01 May 2043
Tender terms are from the SECI CfD-I RfS, CfD Agreement and Amendments 02 and 03, each with its page and quote (sheet Tender terms). Market prices: IEX DAM/GDAM/RTM, Sep 2025 – Sep 2026.

## Tender terms
Group | Term | What it says | Document | Clause | Page | Quote | Status
Scheme and bid | What is procured | Assured peak supply of 1000 MWh a day (500 MW × 2 hours) from ISTS-connected RE projects, sold through the power exchanges, settled by SECI under a CfD | CfDA | Recital D | 3 | SECI had initiated a Tariff Based Competitive Bid Process for assured Peak Supply of 1000 MWh (500 MW x 2 Hrs.) from ISTS-Connected RE Projects under CfD mechanism
Scheme and bid | What you bid | One strike price in ₹/kWh for all projects applied for; digits after two decimals are ignored | Amd-03 | RfS 40.3 (amended) | 4 | quoting a single “First Round Tariff” in Indian Rupee per kWh for all the Projects applied for. If it is quoted with more than two digits after decimal, digits after first two decimal places shall be ignored.
Scheme and bid | Ceiling tariff | None: the ₹5.80/kWh ceiling of the RfS was removed by Amendment-03 | Amd-03 | RfS 40.3 (original, removed) | 4 | The tariff has to be less than or equal to INR 5.80/kWh | replaced
Scheme and bid | Strike price | The tariff discovered in the e-Reverse Auction; every CfD settlement is against it | CfDA | 1.1 Tariff / Strike Price | 13 | shall mean the price/ tariff (INR/kWh) discovered after the e-RA, against which the CfD settlement will take place during the Term of CfDA
Scheme and bid | If documents differ | The CfDA prevails, then the RfS | CfDA | 1.2.18 | 15 | in case of any mismatch/contradiction between provisions of different documents, following shall be the order of precedence:
Scheme and bid | Strike price over the term | Fixed for the whole term (no escalation) | CfDA | 9.1 | 40 | the Strike Price shall be fixed for the entire term of this Agreement
Scheme and bid | What you do | Set up a new ISTS-connected project (battery, RE generation, line to the substation) at your own cost after you win | RfS | 4.1 | 16 | the RE Power Developer (RPD) shall be required to set up ISTS-connected RE Power Project(s)
Scheme and bid | Plants you already have | Not needed; but RE projects already built or being built, with capacity not tied to a buyer, may bid too | RfS | 2.6 | 13 | Bidders who have already commissioned Renewable Energy (RE) Projects or are in process of constructing such Projects and have untied capacity may also participate under this RfS.
Scheme and bid | Capacity you may bid | One bid for you and your group: 50 to 150 MW cumulative, in whole MW | RfS | 6.1 | 16 | submit a single bid offering a minimum quantum of cumulative Contracted Capacity of 50 MW and a maximum quantum of 150 MW, in the prescribed formats. The cumulative Contracted Capacity shall be quoted in integral values only.
Scheme and bid | Most you can be awarded | 150 MW for you and your group | RfS | 6.2 | 17 | The cumulative Contracted Capacity to be allocated to a Bidder including its Parent, Affiliate or Ultimate Parent or any Group Company shall be limited to 150 MW.
Scheme and bid | Bid validity | 12 months from the bid deadline | RfS | 29 | 47 | The Bidder shall submit the response to RfS which shall remain valid up to the date as on 12 months from the last date of submission of response to RfS (“Bid Validity”).
Scheme and bid | Central financial assistance | None | RfS | 2.7 | 14 | No separate Central Financial Assistance is envisaged for implementation of the Projects selected under this RfS.
Scheme and bid | Tax incentives | Yours to claim; they do not change the tariff and give no claim on SECI | RfS | 2.5 | 13 | No claim shall arise on SECI for any liability if Bidders are unable to avail fiscal incentives and this will not have any bearing on the applicable Tariff.
Scheme and bid | Existing RE projects | May bid untied capacity for a longer CfDA, but Clause 11, which this refers to, reads “Not used” (p. 27): the longer term is not defined. Not modelled; ask SECI | RfS | 2.6 | 13 | they will be given the benefit of a longer period of CfDA, commensurate to the duration between the Commercial Operation Date (COD) and Scheduled Commissioning Date (SCD), pursuant to Clause 11 of the RfS. | conflict
Auction | Capacity awarded (SE) | 80% of the qualified bid capacity, at most 500 MW: the full 500 MW is awarded only if at least 625 MW is bid | RfS | 41.2 | 58 | In case ST > 500 MW, SE = 0.8 X ST subject to maximum eligible capacity being 500 MW.
Auction | Who goes to the e-RA | Ranked on the first-round tariff; when 80% of the bid capacity exceeds 500 MW the highest bidder (H1) is dropped, if at least 3 bidders and 500 MW remain | RfS | 41.2 | 58 | The lowest ranked bidder, i.e. the bidder quoting the highest tariff (the “H1 bidder”) shall be eliminated at this stage
Auction | Bidding in the e-RA | You start from your first-round tariff; each new quote at least ₹0.01/kWh lower; your capacity cannot change | RfS | 41.4.ii | 59 | The minimum decrement value for tariff shall be INR 0.01 per kWh.
Auction | Auction clock | 30 minutes, extended by 8 minutes whenever a quote moves a bidder into another zone (green: full award, orange: part, red: none) | RfS | 41.4.vi | 59 | The initial auction period will be of 30 (thirty) minutes with a provision of auto extension by 8 (eight) minutes from the scheduled/extended closing time.
Auction | Who wins | Every bidder within L1 + 2% of the lowest tariff, in tariff order (ties by time of the last quote), up to SE | RfS | 42.2 | 60 | The bidders who fall within the range of (and including) the lowest tariff (L1 tariff) + 2% of the L1 tariff-hereinafter referred to as “the range”- will be declared as Successful Bidders under the RfS
Auction | Part award | The last winner may be offered less (never under 50 MW); it must accept if the offer is at least half its bid | RfS | 42.4 | 61 | it shall be mandatory for the last Bidder to accept the partial capacity offered against its quoted capacity
Daily supply | Peak Hours | 18:00 to 24:00, within the non-solar hours of the GNA Regulations | CfDA | 1.1 Peak Hours | 10 | which shall be between 18:00 Hrs. and 24:00 Hrs. of a Day, provided that such selected hours fall within the non-solar hours as defined under the GNA Regulations
Daily supply | Hours you choose | Any 2 hours of the Peak Hours, chosen day-ahead | CfDA | 1.1 Peak Hours | 10 | The RPD shall, on a day-ahead basis, choose any 2 hours for supply of energy from the Project through Power Exchanges from “Peak Hours”.
Daily supply | Energy to sell every day | 2 MWh per MW of Contracted Capacity (2,000 kWh/MW) in the Peak Hours | CfDA | 1.1 Peak Hours | 10 | The RPD is mandated to sell 2000 kWh of energy per MW Contracted Capacity of the Project during Peak Hours, on a daily basis.
Daily supply | Time blocks | 15-minute blocks, consecutive or not, adding up to 120 minutes a day | CfDA | 4.4.2.iii | 25 | Such Time-Blocks may or may not be consecutive, with the only requirement being that they are chosen from the Peak Hours as defined in this Agreement and the summation of such individual time intervals adds up to 2 hours, i.e. 120 minutes, on a daily basis.
Daily supply | Only cleared volume counts | Your bid must clear on the exchange to be settled | CfDA | 4.4.2.ii | 25 | The RPD shall ensure that its quoted volume (energy) gets cleared in the Market selected by the RPD, on a daily basis, to be eligible for any CfD settlement under this RfS.
Daily supply | Markets | Your choice of exchange and market: GDAM, DAM, HP-DAM, RTM, TAM, G-TAM | Amd-03 | CfDA 4.4.2.ii (amended) | 4 | the appropriate Market (GDAM/ DAM/ HPDAM/ RTM/ TAM/ G-TAM or any other similar Market as recognized by the CERC for sale of power)
Daily supply | SECI may set the hours | SECI may designate the Peak Hours and time blocks, and may schedule or bid on your behalf | Amd-03 | RfS 9.2.c (amended) | 2 | SECI may, as deemed necessary, undertake or facilitate the scheduling and/or bidding of such power on behalf of the RPD in the Power Exchanges
Daily supply | If prices stay below the strike price | SECI/MNRE may allow sale in other suitable markets | Amd-03 | RfS 9.2.c (amended) | 2 | during the period in which the MCPs in the above markets are expected to remain lower than the Strike Price for a sustained period, RPD may be allowed to sell the electricity in suitable markets based on the approval of SECI/MNRE.
Daily supply | Energy above 2 MWh/MW | Not settled under the CfD | CfDA | 4.4.1.ii | 23 | in case of excess supply by the RPD over the daily limit as stipulated in these provisions, RPD shall not be entitled for CfD settlement against such excess energy supplied
Daily supply | Other use of the battery | Allowed (including market sale) after the day's peak supply is met, within the connectivity | CfDA | 4.4.1.v | 24 | the RPD is allowed to use the ESS component for any other application (including market operations such as third-party sale or sale in power exchange) within the availability of connectivity, without requiring No Objection Certificate (NOC) from SECI, after fulfilling the Peak supply requirements for that Day
Daily supply | Selling elsewhere before the obligation is met | A breach, with a penalty of 1.5 × (Reference Rate − strike price) on that volume | CfDA | 4.4.1.v | 25 | Any instance of third-party sale of power from the Project by the RPD, while the supply commitments under the CfDA remains unfulfilled for that day, shall constitute a breach of RPD’s obligations under the CfDA
CfD settlement | What you receive | The strike price for every kWh supplied: SECI's CfD Pool pays (SP − MCP) when the market clears below it, and you pay (MCP − SP) when it clears above | Amd-03 | CfDA 9.2.iv (amended) | 5 | such that the RPD shall be entitled to receive the Strike Price (“SP”) for the electricity supplied from the Project
CfD settlement | Market price risk | None on the settled energy: you keep no gain and bear no loss | Amd-03 | CfDA 9.2.iv (amended) | 5 | Accordingly, the RPD shall neither retain any profit/gain nor bear any loss on account of variation between the MCP and the SP.
CfD settlement | Gain/loss sharing by price slab | Replaced: the draft CfDA's 70:30, 50:50 and 30:70 slab sharing no longer applies | CfDA | 9.2.iv (original) | 40 | Profit/ Gains and losses shall be shared between the RPD and the CfD Stabilization Fund (“Pool”), in a dynamic grading as follows: | replaced
CfD settlement | How it is settled | Every 15-minute block, settled monthly | CfDA | 9.2.vii | 42 | The calculations of gains and losses shall be carried out on a Time-Block basis, and settlement of the same shall be done on monthly basis.
CfD settlement | CfD Pool | ₹76 crore, a revolving buffer for pay-ins and pay-outs | CfDA | 9.2.v | 41 | a stabilization fund of INR 76 Cr. has been created as the CfD Pool
CfD settlement | Payment security to you | The CfD Pool itself | CfDA | 10.4(b) | 47 | the Stabilization Fund set up by the Government and maintained by SECI shall act as the Payment Security Mechanism for any amount payable by SECI to the RPD under this CfDA
CfD settlement | SECI's obligation | Limited to the CfD settlement | CfDA | 14.5.1 | 60 | the performance of the obligations of the SECI under this Agreement shall be limited to settlement under CfD mechanism
CfD settlement | RECs | Energy sold in brown markets (DAM, RTM, TAM) earns RECs; you sell them within 3 months and pay 50% of the proceeds into the Pool | CfDA | 9.2.vi | 41 | These RECs issued to the RPD shall be sold by the RPD in the Market, and 50% of the revenues generated from the sale of these RECs shall be deposited into the CfD pool.
CfD settlement | Exchange fees and charges | Yours | CfDA | 4.2.7 | 23 | any associated charges, losses, and any fees (including transaction fees), as applicable, for selling the energy on/through Power Exchange shall be entirely borne by RPD
CfD settlement | Transmission to the Delivery Point | ISTS charges and losses up to the Delivery Point are yours | CfDA | 4.2.6 | 23 | ISTS charges and losses till the Delivery Point(s), if applicable, shall be borne by the RPD.
Plant | Battery | Mandatory: X MW / 2X MWh for X MW contracted | Amd-02 | RfS 4.3 (amended) | 1 | For a ‘X’ MW Contracted Capacity, RPD shall mandatorily install ESS of ‘X’ MW/ ‘2X’ MWh capacity as part of the Project.
Plant | Battery ownership | Owned by you (no third-party tie-up) | Amd-02 | RfS 4.3 (amended) | 1 | Such ESS shall be owned by the RPD for supply of power through Power Exchanges.
Plant | RE generation | Solar, wind or other RE in any mix; together they may exceed the Contracted Capacity | CfDA | 1.1 RE Power Project | 11 | It is clarified that arithmetic summation of the rated capacities of Wind, Solar PV and other renewable power generating components of the Project can be more than the Contracted Capacity.
Plant | Grid connection | No connectivity above the Contracted Capacity | CfDA | 1.1 Installed Capacity | 8 | additional connectivity for RE generating component or ESS component (if applicable), above the Contracted Capacity, will not be provided
Plant | Location | Generation and battery co-located | CfDA | 1.1 RE Power Project | 11 | It may be noted that the sources of generation and ESS shall be co-located.
Plant | Delivery Point | An ISTS substation at 220 kV or above | CfDA | 1.1 Delivery Point | 6 | shall mean a single point at the voltage level of 220 kV or above of the ISTS Sub-station
Plant | Charging from non-RE | Does not count as RE | CfDA | 1.1 RE Power Project | 11 | It is clarified that ESS charged using a source other than RE power would not qualify as RE power.
Plant | Part commissioning | At least 50 MW a part | CfDA | 5.7 | 34 | the minimum capacity for acceptance of first and subsequent part(s) shall be 50 MW
Plant | Plant configuration | Stated in the bid; you may change it until the SCD | RfS | 5.2 | 16 | The above configuration can be changed until the Scheduled Commissioning Date (SCD) of the Project.
Plant | Solar modules | Domestically made cells and modules (ALMM List-I and List-II) | RfS | Annexure-B 1.d | 110 | It is mandatory to use both domestically manufactured solar PV Cells and domestically manufactured solar PV modules.
Plant | Substation | Any ISTS substation in India with injection rights in non-solar hours; getting the connectivity is your risk | RfS | 8.2 | 18 | The Bidders are free to choose the ISTS substations for Interconnection of the Project to the Grid, with injection scheduling rights during non-solar hours, on a pan-India basis.
Plant | Line to the substation | Yours: building it, its charges, losses and upkeep up to the Interconnection Point | RfS | 8.4 | 18 | The entire cost of transmission including cost of construction of line, wheeling charges, SLDC/Scheduling charges, SOC, MOC, maintenance, losses etc. and any other charges from the Project up to and including at the Interconnection Point will be borne by the RPD.
Plant | Battery owned by a third party | Replaced: Amendment-02 (which numbers this clause 4.3) requires the battery to be owned by you | RfS | 4.4 (original) | 16 | such ESS may be owned by the RPD or may be tied-up separately with a third party by the RPD | replaced
Plant | Battery away from the RE | The RfS allows it (you then pay the battery's own connectivity and charging charges); the CfDA says co-located and prevails. The model takes co-located | RfS | 7.1 | 17 | For a single Project, the RE Generating components, along with ESS (if any) may either be co-located or located at different locations. | conflict
Energy sourcing | All supply RE | 100% of the energy sold each year must be RE | Amd-02 | CfDA 4.4.1.iv (amended) | 4 | The RPD shall supply power such that 100% of the annual energy scheduled on the Power Exchange(s) corresponds to RE power.
Energy sourcing | Green market / bilateral | Up to 25% of each year's energy, for the whole term | Amd-02 | CfDA 4.4.1.iv (amended) | 4 | For the complete Term of the CfDA, the RPD can source up to 25% RE power (in energy terms), on annual basis, from the green market sources/bilateral agreements
Energy sourcing | How the shares are measured | On the energy discharged from the battery, not the charging energy | Amd-02 | CfDA 4.4.1.iv (amended) | 4 | only the energy discharged from the ESS shall be considered for calculating the 25% requirement, and not the corresponding charging energy required
Energy sourcing | First 36 months | A further 75% from the green market / bilateral, only for charging the battery | Amd-02 | CfDA 4.4.1.iv (amended) | 4 | for the period commencing from the Effective Date of CfDA and up to the date as on 36 months therefrom, the RPD shall additionally be permitted to source up to 75% RE power (in energy terms), on annual basis, from the green market sources/ bilateral agreements, provided that such energy is utilized exclusively for charging the ESS
Energy sourcing | After 36 months | A further 50% from RE projects of your group companies, only for charging the battery | Amd-02 | CfDA 4.4.1.iv (amended) | 4 | the RPD may source up to an additional 50% RE power (in energy terms), on annual basis, from RE Project(s) owned by the Group Companies of the RPD, provided that such energy is utilized exclusively for charging the ESS
Energy sourcing | Energy above these limits | Not settled | Amd-02 | CfDA 4.4.1.iv (amended) | 4 | in case of excess supply by the RPD over the 25% limit as stipulated in this provision, the RPD shall not be entitled for CfD settlement against such excess energy supplied
Dates | CfDA signed | Within 30 days of the Letter of Award (LoA) | RfS | 21.1 | 36 | The CfDA will be signed within 30 days of issuance of Letter of Award (LoA) to the Successful Bidder.
Dates | Effective Date | The 30th day after the LoA; every date below runs from it | RfS | 21.4 | 37 | Effective Date of the CfDA shall be the date as on 30th day from the date of issuance of LoA to the Successful Bidder.
Dates | Battery commissioned (SCD) | 15 months from the Effective Date of the CfDA | Amd-02 | RfS 10.2.a (amended) | 2 | The Scheduled Commissioning Date (SCD) for commissioning of the full capacity of the ESS component of the Project shall be the date as on 15 months from the Effective Date of the CfDA
Dates | RE generation commissioned | 36 months from the Effective Date of the CfDA | Amd-02 | RfS 10.2.a (amended) | 2 | The corresponding RE Generating component(s) shall be commissioned by the RPD by the date as on 36 months from the Effective Date of the CfDA
Dates | Term | 15 years from the SCD (the draft CfDA's 12 years was extended) | Amd-03 | CfDA 1.1 Expiry Date (amended) | 4 | shall mean the date occurring as on fifteen (15) years from the Scheduled Commissioning Date (SCD)
Dates | Term in the RfS as issued | Replaced: 12 years became 15 (Amendment-03 to RfS 2.3, 21.2 and 21.7) | RfS | 21.2 (original) | 37 | The CfDAs shall be valid for a period of 12 years from the SCD. | replaced
Dates | After the term | You may keep operating; SECI does not settle beyond the Expiry Date | CfDA | 2.2.2 | 16 | The RPD is free to operate its Project beyond the Expiry Date if other conditions such as land lease / Right to Use of Land (as applicable), permits, approvals and clearances etc. allow.
Dates | Financial closure | 6 months before the SCD | CfDA | 3.4 | 18 | by the date as on 6 months prior to the SCD
Dates | Early commissioning | Allowed, settled under the CfD from then | CfDA | 5.6 | 34 | The RPD shall be permitted for full as well as part commissioning of the Project even prior to the SCD
Dates | Extensions | Only for Force Majeure | CfDA | 4.5.2 | 28 | the Project shall not be eligible for any extension in SCD on account of any reason other than Force Majeure
Dates | Force Majeure extension | At most 6 months | RfS | 10.2.e | 27 | In case of Force Majeure, extension in the SCD shall be limited to 6 months in line with the CfDA.
Dates | Late by up to 3 months | The PBG is encashed pro rata to the capacity not yet supplying | Amd-02 | CfDA 4.6.1 (amended) | 5 | Delay beyond the SCD up to (& including) the date as on 3 months after the SCD or the extended SCD, if applicable: The total PBG/Surety Bond amount shall be encashed on pro-rata basis
Dates | Late by more than 3 months | The Contracted Capacity is cut to what has been commissioned | Amd-02 | CfDA 4.6.2 (amended) | 5 | the Contracted Capacity shall stand reduced / amended to lower of the (i) ESS capacity that has been commissioned, or (ii) the capacity which has commenced supply of power
Bid security and charges | Cost of the RfS | ₹50,000 + GST with the bid, not refunded | RfS | Bid Information Sheet (F) | 2 | Amount: INR 50,000/- (Indian Rupees Fifty Thousand Only) + applicable GST
Bid security and charges | Bid processing fee | ₹20,000 per MW bid + GST, at most ₹20 lakh + GST, not refunded | RfS | Bid Information Sheet (G) | 2 | Amount: INR 20,000/MW + applicable GST for the quoted capacity subject to a maximum amount of INR 20,00,000 + applicable GST for the response to RfS
Bid security and charges | Earnest Money Deposit (EMD) | ₹9.68 lakh/MW solar + ₹13.68 lakh/MW wind or other RE + ₹2.40 lakh/MWh battery, as a bank guarantee or surety bond with the bid | RfS | 17 | 31 | Earnest Money Deposit = [INR 9,68,000 x Rated cumulative Installed Capacity of Solar PV component (MW) + INR 13,68,000 x Rated cumulative Installed Capacity of Wind component and other RE generating sources (MW) + INR 2,40,000 x Rated cumulative Installed Capacity of the ESS component (MWh)].
Bid security and charges | EMD validity | 12 months from the bid deadline (claimable 30 days more); returned once the PBG is in | RfS | 17 | 31 | valid for 12 months from the last date of bid submission
Bid security and charges | Performance Bank Guarantee (PBG) | ₹24.20 lakh/MW solar + ₹34.20 lakh/MW wind or other RE + ₹6.00 lakh/MWh battery, on the installed (AC) capacities | RfS | 18.1 | 33 | Performance Bank Guarantee = [INR 24,20,000 x Rated Installed Capacity of Solar component (MW) + INR 34,20,000 x Rated cumulative Installed Capacity of Wind component and other RE generating sources (MW) + INR 6,00,000 x Rated cumulative Installed Capacity of the ESS component (MWh)].
Bid security and charges | PBG validity | Until 6 months after the SCD (claimable 30 days more) | RfS | 18.1 | 33 | with a validity period up to (& including) the date as on 6 months after the SCD of the Project.
Bid security and charges | PBG returned | Within 45 days of commissioning the full Project Capacity | RfS | 18.10 | 34 | The PBG of RPDs shall be returned to them, within 45 days of successful commissioning of the full Project Capacity/capacity finally accepted by SECI
Bid security and charges | Contract Administration Charges | ₹1 lakh per contracted MW + GST, to SECI within 20 days of the LoA | RfS | 19.1 | 35 | The Successful Bidders shall have to pay Contract Administration Charges @ INR 1,00,000/MW (Indian Rupees One Lakh/MW) + applicable taxes, corresponding to the Contracted Capacity
Bid security and charges | Due after the LoA | The PBG, the Contract Administration Charges and the documents within 20 days of the LoA | RfS | 21.4 | 37 | Successful Bidders will be required to submit the necessary documents, including Contract Administration Charges as per Clause 19 and PBG as per Clause 18 prior to signing of CfDA, within 20 days from issuance of LoA.
Bid security and charges | If they are late | ₹1,000 per MW per day + GST until they are in | RfS | 21.4 | 37 | delay charges @Rs. 1000/MW/day + applicable GST corresponding to the unsigned CfDA capacity shall be levied on the Bidder on per-day basis
Bid security and charges | Late financial closure | ₹100 per MW per day + GST, paid in advance; refunded if the SCD is met | RfS | 22.3 | 38 | on advance payment of extension charges of INR 100/- per day per MW (of Contracted Capacity) + applicable GST.
Penalties and security | Weekly shortfall | 1.5 × (the week's highest evening MCP across all exchanges and markets − strike price) on each MWh short | CfDA | 4.4.3.i | 26 | the RPD shall pay a penalty calculated @ 1.5 times of the difference between (i) the highest of the MCP in HPDAM/DAM/GDAM/RTM or any other similar extant Market-based Collective Transaction Mechanism of all the Power Exchanges during the non-solar hours
Penalties and security | Tolerance | Only the shortfall beyond 10% of the week's 14 MWh/MW | CfDA | 4.4.3.ii | 26 | penalty will be levied on the shortfall beyond 10% in a Contract Week
Penalties and security | When prices are low | No penalty when that highest MCP is below the strike price | CfDA | 4.4.3.i | 26 | In case the rate as determined at (i) above comes out to be less than the Strike Price, no penalty shall be levied on the RPD.
Penalties and security | Uncleared bids | Count as shortfall | CfDA | 4.4.3.iii | 27 | volume shall also be considered as part of shortfall in energy supply by the RPD.
Penalties and security | Grid curtailment | Reduces the week's required energy | CfDA | 4.4.3.iii | 27 | the quantum of such curtailed energy shall be reduced from the energy required to be supplied by the RPD for that Contract Week
Penalties and security | Contract Week | Monday to Sunday | CfDA | 1.1 Contract Week | 5 | the period commencing from the immediate Monday occurring after the relevant UCOD/COD and ending on the immediately succeeding Sunday
Penalties and security | Event of default | Missing the monthly peak supply every month for 2 consecutive Contract Years | CfDA | 13.1.1(i) | 53 | failure to maintain minimum monthly assured Peak supply in every Contract Month during a period of 2 (two) consecutive Contract Years
Penalties and security | Letter of Credit from you to SECI | 2000 × Contracted MW × (C − SP) × 30, C at least ₹10/kWh, renewed yearly | CfDA | 10.4.2 | 46 | LC = 2000 x Contracted Capacity (MW) x [C – SP] x 30
Penalties and security | Change in law | No relief either way | CfDA | 12.1 | 52 | No relief shall be admissible for any gain/ loss incurred by either Party on account of Change in Law.
Eligibility | Who may bid | A company, or a consortium led by one; the tests are financial (net worth, liquidity), not operating plants or experience | RfS | 35.1 | 49 | The Bidder shall be a Company as defined.
Eligibility | Net worth | ₹96.8 lakh/MW solar + ₹1.368 crore/MW wind or other RE + ₹24 lakh/MWh battery, at the end of the last financial year | RfS | 37.1.i | 53 | Minimum Net-Worth requirement = [(Rs. 96,80,000 x Rated Installed Capacity of Solar PV component (MW)) + (Rs. 1,36,80,000 x Rated Installed Capacity of Wind Power component and other RE sources (MW)) + (Rs. 24,00,000 x Rated Installed Capacity of ESS component (MWh))]
Eligibility | Liquidity: turnover | ₹42.37 lakh per contracted MW in the last financial year, other income excluded (or one of the two below) | RfS | 37.2.i | 53 | A minimum annual turnover of INR 42,36,900/ MW (Indian Rupees Forty-Two Lakhs Thirty-Six Thousand and Nine Hundred/MW) of the quoted Contracted Capacity
Eligibility | Liquidity: or PBDIT | ₹8.47 lakh per contracted MW | RfS | 37.2.ii | 53 | Profit Before Depreciation Interest and Taxes (PBDIT) excluding other and exceptional income for a minimum amount of INR 8,47,380/MW
Eligibility | Liquidity: or a line of credit | A bank's in-principle line of credit of ₹10.59 lakh per contracted MW | RfS | 37.2.iii | 54 | committing a Line of Credit for a minimum amount of INR 10,59,225/MW
Eligibility | Your holding in the project company | At least 51% until 1 year after the SCD, unless SECI agrees | RfS | 23.5 | 39 | shall not fall below 51% at any time prior to 01 (one) year after the SCD, except with the prior approval of SECI.

## Inputs
Group | Input | Value | Unit | Source
project | Contracted capacity you bid | 100 | MW | Your input
project | Battery energy | 2 | MWh per contracted MW | Industry benchmark
project | Battery power | 1 | MW per contracted MW | Industry benchmark
project | Own solar | 100 | MWac | Industry benchmark
project | Own wind | 0 | MW | Industry benchmark
project | RE generation commissioned | 21 | months after the SCD | Industry benchmark
project | Plant availability | 97% | % | Industry benchmark
resource | Solar CUF (AC) | 25% | % | Industry benchmark
resource | Solar degradation | 0.5% | % | Industry benchmark
resource | Wind CUF | 33% | % | Industry benchmark
resource | Battery round-trip efficiency (AC) | 87% | % | Industry benchmark
resource | Battery degradation | 2% | % | Industry benchmark
sourcing | Charges on green-market power | 0.3 | ₹/kWh | Industry benchmark
sourcing | Group-company RE price | 3 | ₹/kWh | Industry benchmark
sourcing | Charges on group-company power | 0.3 | ₹/kWh | Industry benchmark
sourcing | Market price escalation | 0% | % | Industry benchmark
sourcing | REC price | 150 | ₹/REC (MWh) | Industry benchmark
costs | Battery capex (all-in) | 1 | ₹ cr/MWh | Industry benchmark
costs | Solar capex | 4 | ₹ cr/MWac | Industry benchmark
costs | Wind capex | 6.5 | ₹ cr/MW | Industry benchmark
costs | Transmission to the ISTS substation | 0.3 | ₹ cr per contracted MW | Industry benchmark
costs | Pre-operative & IDC | 5% | % | Industry benchmark
costs | Battery price fall (augmentation) | 5% | % | Industry benchmark
costs | Battery O&M | 1.2 | ₹ lakh/MWh/yr | Industry benchmark
costs | Solar O&M | 4 | ₹ lakh/MW/yr | Industry benchmark
costs | Wind O&M | 9 | ₹ lakh/MW/yr | Industry benchmark
costs | Scheduling, forecasting, fees, admin | 2 | ₹ lakh per contracted MW/yr | Industry benchmark
costs | Insurance | 0.3% | % | Industry benchmark
costs | O&M escalation | 5% | % | Industry benchmark
costs | Exchange fee on energy sold | 0.02 | ₹/kWh | Industry benchmark
costs | Letter of Credit cost | 1% | % | Industry benchmark
costs | Bank guarantee cost (EMD, PBG) | 1% | % | Industry benchmark
costs | GST on SECI's charges | 18% | % | Industry benchmark
fin | Target equity IRR | 14% | % | Industry benchmark
fin | Debt share | 75% | % | Industry benchmark
fin | Interest rate | 9% | % | Industry benchmark
fin | Loan tenor | 12 | years | Industry benchmark
fin | Corporate tax | 25.17% | % | Industry benchmark
fin | Battery depreciation life | 15 | years | Industry benchmark
fin | RE depreciation life | 25 | years | Industry benchmark
fin | Discount rate (levelised cost) | 10% | % | Industry benchmark
choice | Effective Date of the CfDA | 2027-02-01 |  | Industry benchmark
choice | Market you sell the peak supply in | DAM |  | Industry benchmark
choice | Buy green-market power to charge the battery | true |  | Industry benchmark
choice | Group-company RE for charging (after 36 months) | false |  | Industry benchmark
choice | Sell surplus own RE in the market | true |  | Industry benchmark
choice | Battery capacity over the term | annual |  | Industry benchmark
choice | After the 15-year term | none |  | Industry benchmark

## Operations
Contract Year | Starts | Days | Required MWh | Supplied MWh | Own RE share | Green market share | Group RE share | Charged from own RE MWh | Charged from green market MWh | Charged from group RE MWh | Charging cost ₹ cr | Surplus RE sold MWh | Surplus revenue ₹ cr | Curtailed MWh | Days short of charging | Weeks penalised | Average MCP in your hours ₹/kWh
1 | 01 May 2028 | 335 | 67000 | 64990 | 0% | 100% | 0% | 0 | 74701.1494 | 0 | 16.1976 | 0 | 0 | 0 | 0 | 0 | 8.2611
2 | 01 Apr 2029 | 365 | 73000 | 70810 | 16.16% | 83.84% | 0% | 13156.3218 | 68234.4828 | 0 | 14.2918 | 27956.914 | 8.466 | 0 | 0 | 0 | 8.3051
3 | 01 Apr 2030 | 365 | 73000 | 70810 | 99.94% | 0.0636% | 0% | 81339.0391 | 51.7655 | 0 | 0.0083024 | 135585.8229 | 38.9952 | 0 | 0 | 0 | 8.3051
4 | 01 Apr 2031 | 366 | 73200 | 71004 | 99.93% | 0.06599% | 0% | 81559.9369 | 53.8562 | 0 | 0.0086545 | 134954.345 | 38.8741 | 0 | 0 | 0 | 8.3049
5 | 01 Apr 2032 | 365 | 73000 | 70810 | 99.93% | 0.06995% | 0% | 81333.8729 | 56.9317 | 0 | 0.0091737 | 133423.5006 | 38.437 | 0 | 0 | 0 | 8.3051
6 | 01 Apr 2033 | 365 | 73000 | 70810 | 99.93% | 0.07371% | 0% | 81330.8127 | 59.9919 | 0 | 0.0096903 | 132352.7739 | 38.1605 | 0 | 0 | 0 | 8.3051
7 | 01 Apr 2034 | 365 | 73000 | 70810 | 99.92% | 0.07745% | 0% | 81327.7678 | 63.0368 | 0 | 0.010204 | 131287.4008 | 37.885 | 0 | 0 | 0 | 8.3051
8 | 01 Apr 2035 | 366 | 73200 | 71004 | 99.92% | 0.08095% | 0% | 81547.7267 | 66.0664 | 0 | 0.010716 | 130665.0302 | 37.7648 | 0 | 0 | 0 | 8.3049
9 | 01 Apr 2036 | 365 | 73000 | 70810 | 99.92% | 0.08488% | 0% | 81321.7237 | 69.0809 | 0 | 0.011225 | 129169.409 | 37.3367 | 0 | 0 | 0 | 8.3051
10 | 01 Apr 2037 | 365 | 73000 | 70810 | 99.91% | 0.08856% | 0% | 81318.7243 | 72.0803 | 0 | 0.011731 | 128119.9528 | 37.0648 | 0 | 0 | 0 | 8.3051
11 | 01 Apr 2038 | 365 | 73000 | 70810 | 99.91% | 0.09223% | 0% | 81315.7399 | 75.0647 | 0 | 0.012235 | 127075.7438 | 36.7941 | 0 | 0 | 0 | 8.3051
12 | 01 Apr 2039 | 366 | 73200 | 71004 | 99.9% | 0.09561% | 0% | 81535.7589 | 78.0342 | 0 | 0.012736 | 126461.3169 | 36.6748 | 0 | 0 | 0 | 8.3049
13 | 01 Apr 2040 | 365 | 73000 | 70810 | 99.9% | 0.09951% | 0% | 81309.8157 | 80.9889 | 0 | 0.013235 | 124999.7566 | 36.2555 | 0 | 0 | 0 | 8.3051
14 | 01 Apr 2041 | 365 | 73000 | 70810 | 99.9% | 0.104% | 0% | 81306.1419 | 84.6627 | 0 | 0.013882 | 123971.8825 | 35.9889 | 0 | 0 | 0 | 8.3051
15 | 01 Apr 2042 | 365 | 73000 | 70810 | 99.89% | 0.109% | 0% | 81302.1054 | 88.6992 | 0 | 0.014603 | 122949.5289 | 35.7238 | 0 | 0 | 0 | 8.3051
16 | 01 Apr 2043 | 30 | 6000 | 5820 | 100% | 0% | 0% | 6689.6552 | 0 | 0 | 0 | 13797.8962 | 3.3128 | 0 | 0 | 0 | 8.7954

## Financial model
₹ crore | Total | Construction | CY 1 | CY 2 | CY 3 | CY 4 | CY 5 | CY 6 | CY 7 | CY 8 | CY 9 | CY 10 | CY 11 | CY 12 | CY 13 | CY 14 | CY 15 | CY 16
CfD revenue (SP × energy supplied) | 1198.8514 |  | 73.3142 | 79.8797 | 79.8797 | 80.0985 | 79.8797 | 79.8797 | 79.8797 | 80.0985 | 79.8797 | 79.8797 | 79.8797 | 80.0985 | 79.8797 | 79.8797 | 79.8797 | 6.5655
Market sales after the term | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Surplus RE sold | 497.734 |  | 0 | 8.466 | 38.9952 | 38.8741 | 38.437 | 38.1605 | 37.885 | 37.7648 | 37.3367 | 37.0648 | 36.7941 | 36.6748 | 36.2555 | 35.9889 | 35.7238 | 3.3128
RECs (your 50%) | 7.032 |  | 0 | 0.085845 | 0.53074 | 0.53218 | 0.5307 | 0.53068 | 0.53066 | 0.5321 | 0.53062 | 0.5306 | 0.53059 | 0.53202 | 0.53055 | 0.53052 | 0.5305 | 0.04365
Total revenue | 1703.6173 |  | 73.3142 | 88.4315 | 119.4055 | 119.5048 | 118.8473 | 118.5709 | 118.2953 | 118.3954 | 117.747 | 117.4751 | 117.2044 | 117.3053 | 116.6657 | 116.3991 | 116.134 | 9.9219
Charging power: green market | 30.6358 |  | 16.1976 | 14.2918 | 0.0083024 | 0.0086545 | 0.0091737 | 0.0096903 | 0.010204 | 0.010716 | 0.011225 | 0.011731 | 0.012235 | 0.012736 | 0.013235 | 0.013882 | 0.014603 | 0
Charging power: group RE | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery O&M | 52.0295 |  | 2.2027 | 2.52 | 2.646 | 2.7859 | 2.9172 | 3.0631 | 3.2162 | 3.3863 | 3.5459 | 3.7232 | 3.9093 | 4.1161 | 4.3101 | 4.5256 | 4.7518 | 0.41009
RE O&M | 79.5235 |  | 0 | 0.6789 | 4.41 | 4.6432 | 4.862 | 5.1051 | 5.3604 | 5.6438 | 5.9098 | 6.2053 | 6.5156 | 6.8601 | 7.1834 | 7.5426 | 7.9197 | 0.68348
Battery augmentation | 37.1567 |  | 0 | 3.61 | 3.4295 | 3.267 | 3.0951 | 2.9404 | 2.7933 | 2.661 | 2.521 | 2.3949 | 2.2752 | 2.1674 | 2.0534 | 1.9507 | 1.8532 | 0.1447
Scheduling, fees, admin | 43.3579 |  | 1.8356 | 2.1 | 2.205 | 2.3216 | 2.431 | 2.5526 | 2.6802 | 2.8219 | 2.9549 | 3.1027 | 3.2578 | 3.4301 | 3.5917 | 3.7713 | 3.9599 | 0.34174
Insurance | 27.6351 |  | 0.66887 | 0.93244 | 1.9888 | 1.9942 | 1.9888 | 1.9888 | 1.9888 | 1.9942 | 1.9888 | 1.9888 | 1.9888 | 1.9942 | 1.9888 | 1.9888 | 1.9888 | 0.16346
Exchange fees | 5.571 |  | 0.12998 | 0.19753 | 0.41279 | 0.41192 | 0.40847 | 0.40633 | 0.40419 | 0.40334 | 0.39996 | 0.39786 | 0.39577 | 0.39493 | 0.39162 | 0.38956 | 0.38752 | 0.039236
Letter of Credit | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Weekly shortfall penalty | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total operating costs | 275.9095 |  | 21.0348 | 24.3307 | 15.1004 | 15.4324 | 15.7118 | 16.0659 | 16.4533 | 16.9212 | 17.3316 | 17.8245 | 18.3547 | 18.9755 | 19.5322 | 20.1824 | 20.8755 | 1.7827
EBITDA | 1427.7079 |  | 52.2794 | 64.1008 | 104.3052 | 104.0723 | 103.1355 | 102.505 | 101.842 | 101.4742 | 100.4154 | 99.6506 | 98.8497 | 98.3298 | 97.1335 | 96.2167 | 95.2585 | 8.1392
Depreciation | 465.5564 |  | 14.8637 | 18.9104 | 32.9948 | 33.0852 | 32.9948 | 32.9948 | 32.9948 | 33.0852 | 32.9948 | 32.9948 | 32.9948 | 33.0852 | 32.9948 | 32.9948 | 32.9948 | 2.5788
Interest | 295.4598 |  | 15.0495 | 19.7257 | 42.1267 | 38.5029 | 34.6586 | 30.9296 | 27.2007 | 23.5361 | 19.7326 | 16.0037 | 12.2747 | 8.5692 | 4.8067 | 2.3431 | 0 | 0
Profit before tax | 666.6916 |  | 22.3662 | 25.4647 | 29.1837 | 32.4842 | 35.4822 | 38.5805 | 41.6465 | 44.8529 | 47.688 | 50.6521 | 53.5802 | 56.6754 | 59.332 | 60.8789 | 62.2637 | 5.5604
Tax | 167.8063 |  | 5.6296 | 6.4095 | 7.3455 | 8.1763 | 8.9309 | 9.7107 | 10.4824 | 11.2895 | 12.0031 | 12.7491 | 13.4861 | 14.2652 | 14.9339 | 15.3232 | 15.6718 | 1.3995
Profit after tax | 498.8853 |  | 16.7366 | 19.0552 | 21.8382 | 24.3079 | 26.5513 | 28.8698 | 31.1641 | 33.5634 | 35.6849 | 37.903 | 40.094 | 42.4102 | 44.3982 | 45.5556 | 46.5919 | 4.1608
Capex | 662.9219 | 242.9219 | 0 | 420 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bank guarantees: EMD and PBG | 0.82987 | 0.82987
Debt drawn | 497.1914 | 182.1914 | 0 | 315 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CFADS | 1259.9016 |  | 46.6498 | 57.6914 | 96.9596 | 95.8961 | 94.2047 | 92.7942 | 91.3596 | 90.1847 | 88.4124 | 86.9015 | 85.3636 | 84.0646 | 82.1996 | 80.8935 | 79.5867 | 6.7396
Debt service | 792.6513 |  | 28.9842 | 34.9083 | 83.5593 | 80.0491 | 76.0912 | 72.3623 | 68.6333 | 65.0822 | 61.1652 | 57.4363 | 53.7074 | 50.1154 | 32.1798 | 28.3773 | 0 | 0
DSCR |  |  | 1.6095 | 1.6527 | 1.1604 | 1.198 | 1.238 | 1.2824 | 1.3311 | 1.3857 | 1.4455 | 1.513 | 1.5894 | 1.6774 | 2.5544 | 2.8506
Debt outstanding | 3062.609 |  | 168.2567 | 468.0741 | 426.6415 | 385.0953 | 343.6627 | 302.2301 | 260.7975 | 219.2513 | 177.8187 | 136.3861 | 94.9535 | 53.4073 | 26.0342 | 0 | 0 | 0
Free cash to equity | 300.69 | -61.5603 | 17.6656 | -82.217 | 13.4004 | 15.847 | 18.1135 | 20.432 | 22.7262 | 25.1025 | 27.2471 | 29.4652 | 31.6562 | 33.9493 | 50.0199 | 52.5162 | 79.5867 | 6.7396