## Cover
SECI RTC-TM · bid financial model
SECI/C&P/IPP/13/0020/25-26 · 50 MW round the clock · 25 years
Prepared 2026-10-24 by Demo · Tender to Bid (TenderOS)
The key results below are linked to the Live model tab: change an input there (blue cells) and they follow.
Key results
Bid tariff (₹/kWh) | 7.0434 | Tariff that gives the 14.00% target equity IRR
Equity IRR | 14%
Project IRR | 9.96%
Equity NPV at the target IRR (₹ cr) | 8.1712e-14
Minimum DSCR | 1.1337
Average DSCR | 1.5577
Equity payback (year) | 8
Project cost (₹ cr) | 1581.9723 | ₹31.64 cr per contracted MW
Debt (₹ cr) | 1107.3806
Equity (₹ cr) | 474.5917
Levelised cost of supply (₹/kWh) | 5.5335 | at a 10.0% discount rate
Least-tariff sizing (HiGHS, ₹/kWh) | 7.0376 | Screening tariff of the sizing; the bid tariff is from the full financial model
Year-1 supply (MU) | 389.302 | 88.9% of contracted
Year-1 market sale (MU) | 0
Revenue over 25 years (₹ cr) | 6077.9184
Tender conditions | 5 met, 0 not met
Plant
Contracted capacity (MW) | 50 | bid capacity
Solar (MW) | 130.7788 | sized by the optimizer
Wind (MW) | 73.2316 | sized by the optimizer
Battery power (MW) | 105.7333
Battery energy (MWh) | 422.9334
Key inputs
Bid capacity (MW) | 50
Solar | CUF (AC) 25.0% · Capex per MWac 4 ₹ cr/MWac · O&M per MWac 4 ₹ lakh/MWac/yr
Wind | CUF 33.0% · Capex 6.5 ₹ cr/MW · O&M 9 ₹ lakh/MW/yr
Battery storage | Discharge duration 4 hours · Round-trip efficiency 87.0% · Capex 1.2 ₹ cr/MWh · O&M 1.2 ₹ lakh/MWh/yr
Financing | equity IRR 14.0% · debt 70% at 9.00% for 15 years · tax 25.17%
Market sale | none
Tender
Procurer | Solar Energy Corporation of India Limited (SECI)
Tender | SECI/C&P/IPP/13/0020/25-26 | Supply of 1000 MW Round-the-Clock Thermal Mimic (RTC-TM) power from ISTS-connected RE projects
Capacity | 1000 MW
Supply floors | Peak Hours floor (every block) 90% · Off-peak floor (every block) 70%
Least green share | Not stated
Mandatory solar | Not stated
PPA term | 25 years
Supply start | 07.08.2028
Ceiling tariff | Not stated
Every tender condition comes from the tender reading, with its page and quote (sheet Tender conditions).
Inputs marked "Industry benchmark" are industry benchmark (CERC norms, 2025–26 market prices), not from the tender; the rest are the bidder's own (sheet Inputs).

## Live model
SECI RTC-TM · bid financial model
Every number below is a formula on the blue inputs and the optimiser's energy (green). Change a blue cell: the whole model, the returns and the Cover move with it.
Colour key | Input | Optimiser | Formula
The optimiser's energy comes from the hourly HiGHS dispatch of every year; changing a plant size here moves its cost, not its energy (size the plant again in TenderOS for that).
₹ crore unless stated | Unit | Total / value | Year 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Key results
|  | This workbook | Year 0: App; 1: Difference; 2: Same as app?
Bid tariff | ₹/kWh | 7.0434 | Year 0: 7.0434; 1: 0; 2: Yes
Equity IRR | % | 14% | Year 0: 14%; 1: 6.426e-09%; 2: Yes
Equity IRR less the target | % | 2.308e-11% | Year 0: -6.403e-09%; 1: 6.426e-09%; 2: Yes
Project IRR | % | 9.96% | Year 0: 9.96%; 1: 2.664e-08%; 2: Yes
Equity NPV at the target IRR | ₹ cr | 5.3291e-14 | Year 0: 8.1712e-14; 1: -2.8422e-14; 2: Yes
Project NPV at the discount rate | ₹ cr | -4.4147 | Year 0: -4.4147; 1: -5.6843e-14; 2: Yes
Minimum DSCR | × | 1.1337 | Year 0: 1.1337; 1: 0; 2: Yes
Average DSCR | × | 1.5577 | Year 0: 1.5577; 1: 0; 2: Yes
Levelised cost of supply | ₹/kWh | 5.5335 | Year 0: 5.5335; 1: 0; 2: Yes
Levelised tariff | ₹/kWh | 7.0434 | Year 0: 7.0434; 1: -1.7764e-15; 2: Yes
Equity payback | year | 8 | Year 0: 8; 1: 0; 2: Yes
Project cost | ₹ cr | 1581.9723 | Year 0: 1581.9723; 1: 0; 2: Yes
Debt | ₹ cr | 1107.3806 | Year 0: 1107.3806; 1: 0; 2: Yes
Equity | ₹ cr | 474.5917 | Year 0: 474.5917; 1: 0; 2: Yes
Revenue over 25 years | ₹ cr | 6077.9184 | Year 0: 6077.9184; 1: 0; 2: Yes
Model checks |  | OK | bar: 2
To price the bid again after changing an input: Data › What-If Analysis › Goal Seek, set the cell "Equity IRR less the target" to 0 by changing the bid tariff.
Inputs
Tariff | bar: Year 0
Bid tariff | ₹/kWh | 7.0434 | Year 0: Solved in TenderOS for the target equity IRR
Tariff escalation | %/yr | 0% | Year 0: Industry benchmark
Plant (sized by the optimiser) | bar: Year 0
Solar | MW | 130.7788 | Year 0: HiGHS sizing
Wind | MW | 73.2316 | Year 0: HiGHS sizing
Battery power | MW | 105.7333 | Year 0: HiGHS sizing
Battery energy | MWh | 422.9334 | Year 0: HiGHS sizing
Capital cost | bar: Year 0
Solar | ₹ cr/MW | 4 | Year 0: Industry benchmark
Wind | ₹ cr/MW | 6.5 | Year 0: Industry benchmark
Battery energy | ₹ cr/MWh | 1.2 | Year 0: Industry benchmark
Battery power conversion | ₹ cr/MW | 0 | Year 0: Included in the energy price
Transmission / evacuation | ₹ cr | 0 | Year 0: Industry benchmark
Pre-operative and IDC | % of hard cost | 5% | Year 0: Industry benchmark
Operating cost | bar: Year 0
Solar O&M | ₹ lakh/MW/yr | 4 | Year 0: Industry benchmark
Wind O&M | ₹ lakh/MW/yr | 9 | Year 0: Industry benchmark
Battery O&M | ₹ lakh/MWh/yr | 1.2 | Year 0: Industry benchmark
O&M escalation | %/yr | 5% | Year 0: Industry benchmark
Insurance | % of hard cost/yr | 0.3% | Year 0: Industry benchmark
Other fixed cost | ₹ cr/yr | 0 | Year 0: Model default
Revenue and supply | bar: Year 0
Sell surplus in the market | Yes / No | No | Year 0: Industry benchmark
Market sale price | ₹/kWh | 0 | Year 0: Not used: no market sale
Annual supply floor | % of contracted | 0% | Year 0: Tender
Shortfall penalty | ₹/kWh short | 0 | Year 0: Model default
Time-block shortfall penalty | × tariff | 1.5 | Year 0: Tender
Battery augmentation | bar: Year 0
Augmentation | annual / oneTime / none | annual | Year 0: Industry benchmark
Battery capacity fade | %/yr | 2% | Year 0: Industry benchmark
One-time augmentation year | year | 12 | Year 0: Model default (used with oneTime)
Battery price decline | %/yr | 0% | Year 0: Model default
Financing | bar: Year 0
Debt share | % of project cost | 70% | Year 0: Industry benchmark
Interest rate | %/yr | 9% | Year 0: Industry benchmark
Loan tenor | years | 15 | Year 0: Industry benchmark
Repayment | annuity / equal | equal | Year 0: Model default
Target equity IRR | % | 14% | Year 0: Industry benchmark
Discount rate (LCOE, project NPV) | % | 10% | Year 0: Model default
Tax and depreciation | bar: Year 0
Corporate tax | % | 25.17% | Year 0: Industry benchmark
Tax depreciation | wdv / slm | wdv | Year 0: Model default
WDV rate | %/yr | 40% | Year 0: Model default
Book life | years | 25 | Year 0: Model default
Salvage value | % of project cost | 10% | Year 0: Model default
Receivable days | days | 45 | Year 0: Model default
Project cost and funding
Solar | ₹ cr | 523.1151
Wind | ₹ cr | 476.0051
Battery energy | ₹ cr | 507.5201
Battery power conversion | ₹ cr | 0
Transmission / evacuation | ₹ cr | 0
Hard cost | ₹ cr | 1506.6403
Pre-operative and IDC | ₹ cr | 75.332
Total project cost | ₹ cr | 1581.9723
Debt | ₹ cr | 1107.3806
Equity | ₹ cr | 474.5917
Model years | years | 25
Loan tenor used | years | 15
Annuity (interest + principal) if annuity repayment | ₹ cr/yr | 137.3804
Principal a year if equal repayment | ₹ cr/yr | 73.8254
Depreciable value (less salvage) | ₹ cr | 1423.7751
Book depreciation a year | ₹ cr/yr | 56.951
Energy (the optimiser's hourly dispatch, summed by year)
Contracted energy | MU | 10950 |  | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438
Delivered to the procurer | MU | 9595.1267 |  | 389.302 | 388.8439 | 388.3858 | 387.9278 | 387.4697 | 387.0116 | 386.5535 | 386.0955 | 385.6374 | 385.1793 | 384.7212 | 384.2631 | 383.8051 | 383.347 | 382.8889 | 382.4308 | 381.9728 | 381.5147 | 381.0566 | 380.5985 | 380.1405 | 379.6824 | 379.2243 | 378.7662 | 378.3081
Delivered ÷ contracted | % |  |  | 88.88% | 88.78% | 88.67% | 88.57% | 88.46% | 88.36% | 88.25% | 88.15% | 88.05% | 87.94% | 87.84% | 87.73% | 87.63% | 87.52% | 87.42% | 87.31% | 87.21% | 87.1% | 87% | 86.89% | 86.79% | 86.69% | 86.58% | 86.48% | 86.37%
Short of the annual floor | MU | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Short of the time-block floors | MU | 643.8987 |  | 24.0647 | 24.2057 | 24.3466 | 24.4875 | 24.6285 | 24.7694 | 24.9103 | 25.0513 | 25.1922 | 25.3331 | 25.4741 | 25.615 | 25.7559 | 25.8969 | 26.0378 | 26.1788 | 26.3197 | 26.4606 | 26.6016 | 26.7425 | 26.8834 | 27.0244 | 27.1653 | 27.3062 | 27.4472
Sold in the market | MU | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Market sale price | ₹/kWh |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Escalation and discount factors
Tariff | × | bar: 1 to 25
O&M and other fixed cost | × |  |  | 1 | 1.05 | 1.1025 | 1.1576 | 1.2155 | 1.2763 | 1.3401 | 1.4071 | 1.4775 | 1.5513 | 1.6289 | 1.7103 | 1.7959 | 1.8856 | 1.9799 | 2.0789 | 2.1829 | 2.292 | 2.4066 | 2.527 | 2.6533 | 2.786 | 2.9253 | 3.0715 | 3.2251
Battery price | × | bar: 1 to 25
Discount factor | × |  |  | 0.90909 | 0.82645 | 0.75131 | 0.68301 | 0.62092 | 0.56447 | 0.51316 | 0.46651 | 0.4241 | 0.38554 | 0.35049 | 0.31863 | 0.28966 | 0.26333 | 0.23939 | 0.21763 | 0.19784 | 0.17986 | 0.16351 | 0.14864 | 0.13513 | 0.12285 | 0.11168 | 0.10153 | 0.092296
Revenue
Tariff | ₹/kWh |  |  | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434
PPA supply revenue | ₹ cr | 6758.2007 |  | 274.1997 | 273.8771 | 273.5544 | 273.2318 | 272.9092 | 272.5865 | 272.2639 | 271.9412 | 271.6186 | 271.296 | 270.9733 | 270.6507 | 270.328 | 270.0054 | 269.6827 | 269.3601 | 269.0375 | 268.7148 | 268.3922 | 268.0695 | 267.7469 | 267.4243 | 267.1016 | 266.779 | 266.4563
Market sale revenue | ₹ cr | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Shortfall penalty | ₹ cr | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Time-block shortfall penalty | ₹ cr | 680.2823 |  | 25.4245 | 25.5734 | 25.7223 | 25.8712 | 26.0201 | 26.169 | 26.3179 | 26.4668 | 26.6157 | 26.7646 | 26.9135 | 27.0624 | 27.2113 | 27.3602 | 27.5091 | 27.658 | 27.8069 | 27.9558 | 28.1047 | 28.2536 | 28.4025 | 28.5514 | 28.7003 | 28.8492 | 28.9981
Total revenue | ₹ cr | 6077.9184 |  | 248.7752 | 248.3037 | 247.8321 | 247.3606 | 246.8891 | 246.4175 | 245.946 | 245.4744 | 245.0029 | 244.5314 | 244.0598 | 243.5883 | 243.1167 | 242.6452 | 242.1737 | 241.7021 | 241.2306 | 240.759 | 240.2875 | 239.816 | 239.3444 | 238.8729 | 238.4013 | 237.9298 | 237.4583
Operating costs
Solar O&M | ₹ cr | 249.6677 |  | 5.2312 | 5.4927 | 5.7673 | 6.0557 | 6.3585 | 6.6764 | 7.0102 | 7.3608 | 7.7288 | 8.1152 | 8.521 | 8.947 | 9.3944 | 9.8641 | 10.3573 | 10.8752 | 11.4189 | 11.9899 | 12.5894 | 13.2189 | 13.8798 | 14.5738 | 15.3025 | 16.0676 | 16.871
Wind O&M | ₹ cr | 314.5617 |  | 6.5908 | 6.9204 | 7.2664 | 7.6297 | 8.0112 | 8.4118 | 8.8324 | 9.274 | 9.7377 | 10.2246 | 10.7358 | 11.2726 | 11.8362 | 12.428 | 13.0494 | 13.7019 | 14.387 | 15.1063 | 15.8616 | 16.6547 | 17.4875 | 18.3618 | 19.2799 | 20.2439 | 21.2561
Battery O&M | ₹ cr | 242.2246 |  | 5.0752 | 5.329 | 5.5954 | 5.8752 | 6.1689 | 6.4774 | 6.8013 | 7.1413 | 7.4984 | 7.8733 | 8.267 | 8.6803 | 9.1143 | 9.57 | 10.0486 | 10.551 | 11.0785 | 11.6325 | 12.2141 | 12.8248 | 13.466 | 14.1393 | 14.8463 | 15.5886 | 16.368
Insurance | ₹ cr | 112.998 |  | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199
Other fixed cost | ₹ cr | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total operating cost | ₹ cr | 919.452 |  | 21.4171 | 22.262 | 23.1491 | 24.0805 | 25.0586 | 26.0855 | 27.1638 | 28.296 | 29.4848 | 30.733 | 32.0437 | 33.4199 | 34.8649 | 36.3821 | 37.9752 | 39.648 | 41.4044 | 43.2486 | 45.185 | 47.2183 | 49.3532 | 51.5949 | 53.9486 | 56.42 | 59.0151
EBITDA | ₹ cr | 5158.4664 |  | 227.3581 | 226.0417 | 224.6831 | 223.2801 | 221.8305 | 220.332 | 218.7822 | 217.1785 | 215.5181 | 213.7983 | 212.0161 | 210.1684 | 208.2519 | 206.2631 | 204.1985 | 202.0541 | 199.8262 | 197.5104 | 195.1025 | 192.5977 | 189.9912 | 187.278 | 184.4527 | 181.5097 | 178.4432
EBITDA margin | % |  |  | 91.39% | 91.03% | 90.66% | 90.27% | 89.85% | 89.41% | 88.96% | 88.47% | 87.97% | 87.43% | 86.87% | 86.28% | 85.66% | 85.01% | 84.32% | 83.6% | 82.84% | 82.04% | 81.2% | 80.31% | 79.38% | 78.4% | 77.37% | 76.29% | 75.15%
Battery augmentation (capital spend in operation)
Battery augmentation | ₹ cr | 243.6096 |  | 0 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504
Book depreciation
On the project cost (straight line) | ₹ cr | 1423.7751 |  | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951 | 56.951
Added for this year's augmentation | ₹ cr |  |  | 0 | 0.42293 | 0.44132 | 0.46138 | 0.48335 | 0.50752 | 0.53423 | 0.56391 | 0.59708 | 0.6344 | 0.67669 | 0.72503 | 0.7808 | 0.84587 | 0.92276 | 1.015 | 1.1278 | 1.2688 | 1.4501 | 1.6917 | 2.0301 | 2.5376 | 3.3835 | 5.0752 | 10.1504
On augmentation | ₹ cr | 243.6096 |  | 0 | 0.42293 | 0.86426 | 1.3256 | 1.809 | 2.3165 | 2.8507 | 3.4147 | 4.0117 | 4.6461 | 5.3228 | 6.0479 | 6.8287 | 7.6745 | 8.5973 | 9.6123 | 10.7402 | 12.009 | 13.459 | 15.1507 | 17.1808 | 19.7184 | 23.1019 | 28.1771 | 38.3275
Book depreciation | ₹ cr | 1667.3847 |  | 56.951 | 57.3739 | 57.8153 | 58.2766 | 58.76 | 59.2675 | 59.8017 | 60.3657 | 60.9627 | 61.5971 | 62.2738 | 62.9989 | 63.7797 | 64.6255 | 65.5483 | 66.5633 | 67.6912 | 68.96 | 70.41 | 72.1017 | 74.1318 | 76.6694 | 80.0529 | 85.1281 | 95.2785
Debt
Opening debt | ₹ cr |  |  | 1107.3806 | 1033.5553 | 959.7299 | 885.9045 | 812.0791 | 738.2538 | 664.4284 | 590.603 | 516.7776 | 442.9523 | 369.1269 | 295.3015 | 221.4761 | 147.6508 | 73.8254 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest | ₹ cr | 797.3141 |  | 99.6643 | 93.02 | 86.3757 | 79.7314 | 73.0871 | 66.4428 | 59.7986 | 53.1543 | 46.51 | 39.8657 | 33.2214 | 26.5771 | 19.9329 | 13.2886 | 6.6443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal | ₹ cr | 1107.3806 |  | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing debt | ₹ cr |  |  | 1033.5553 | 959.7299 | 885.9045 | 812.0791 | 738.2538 | 664.4284 | 590.603 | 516.7776 | 442.9523 | 369.1269 | 295.3015 | 221.4761 | 147.6508 | 73.8254 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service | ₹ cr | 1904.6947 |  | 173.4896 | 166.8453 | 160.2011 | 153.5568 | 146.9125 | 140.2682 | 133.6239 | 126.9796 | 120.3354 | 113.6911 | 107.0468 | 100.4025 | 93.7582 | 87.1139 | 80.4697 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax depreciation
Tax block, opening | ₹ cr |  |  | 1581.9723 | 949.1834 | 575.6003 | 351.4504 | 216.9605 | 136.2665 | 87.8502 | 58.8003 | 41.3704 | 30.9125 | 24.6377 | 20.8729 | 18.614 | 17.2586 | 16.4454 | 15.9575 | 15.6647 | 15.4891 | 15.3837 | 15.3205 | 15.2825 | 15.2597 | 15.2461 | 15.2379 | 15.233
Added: augmentation | ₹ cr | 243.6096 |  | 0 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504
Tax depreciation | ₹ cr | 1810.3519 |  | 632.7889 | 383.7335 | 234.3003 | 144.6403 | 90.8444 | 58.5668 | 39.2002 | 27.5803 | 20.6083 | 16.4252 | 13.9153 | 12.4093 | 11.5057 | 10.9636 | 10.6383 | 10.4432 | 10.3261 | 10.2558 | 10.2136 | 10.1883 | 10.1732 | 10.1641 | 10.1586 | 10.1553 | 10.1534
Tax block, closing | ₹ cr |  |  | 949.1834 | 575.6003 | 351.4504 | 216.9605 | 136.2665 | 87.8502 | 58.8003 | 41.3704 | 30.9125 | 24.6377 | 20.8729 | 18.614 | 17.2586 | 16.4454 | 15.9575 | 15.6647 | 15.4891 | 15.3837 | 15.3205 | 15.2825 | 15.2597 | 15.2461 | 15.2379 | 15.233 | 15.23
Profit and loss
EBITDA | ₹ cr | 5158.4664 |  | 227.3581 | 226.0417 | 224.6831 | 223.2801 | 221.8305 | 220.332 | 218.7822 | 217.1785 | 215.5181 | 213.7983 | 212.0161 | 210.1684 | 208.2519 | 206.2631 | 204.1985 | 202.0541 | 199.8262 | 197.5104 | 195.1025 | 192.5977 | 189.9912 | 187.278 | 184.4527 | 181.5097 | 178.4432
Less: book depreciation | ₹ cr | 1667.3847 |  | 56.951 | 57.3739 | 57.8153 | 58.2766 | 58.76 | 59.2675 | 59.8017 | 60.3657 | 60.9627 | 61.5971 | 62.2738 | 62.9989 | 63.7797 | 64.6255 | 65.5483 | 66.5633 | 67.6912 | 68.96 | 70.41 | 72.1017 | 74.1318 | 76.6694 | 80.0529 | 85.1281 | 95.2785
Less: interest | ₹ cr | 797.3141 |  | 99.6643 | 93.02 | 86.3757 | 79.7314 | 73.0871 | 66.4428 | 59.7986 | 53.1543 | 46.51 | 39.8657 | 33.2214 | 26.5771 | 19.9329 | 13.2886 | 6.6443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Profit before tax | ₹ cr | 2693.7676 |  | 70.7428 | 75.6478 | 80.4921 | 85.272 | 89.9834 | 94.6217 | 99.1819 | 103.6585 | 108.0454 | 112.3355 | 116.5209 | 120.5924 | 124.5394 | 128.349 | 132.0059 | 135.4908 | 132.1351 | 128.5505 | 124.6925 | 120.4959 | 115.8594 | 110.6086 | 104.3998 | 96.3817 | 83.1647
Taxable profit before losses brought forward | ₹ cr |  |  | -505.0951 | -250.7118 | -95.9929 | -1.0917 | 57.899 | 95.3224 | 119.7834 | 136.4439 | 148.3998 | 157.5075 | 164.8795 | 171.182 | 176.8133 | 182.0109 | 186.9158 | 191.611 | 189.5001 | 187.2546 | 184.8888 | 182.4093 | 179.818 | 177.114 | 174.2941 | 171.3544 | 168.2899
Tax losses brought forward | ₹ cr |  |  | 0 | 505.0951 | 755.8069 | 851.7998 | 852.8914 | 794.9924 | 699.67 | 579.8866 | 443.4427 | 295.0429 | 137.5354 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Losses set off | ₹ cr | 852.8914 |  | 0 | 0 | 0 | 0 | 57.899 | 95.3224 | 119.7834 | 136.4439 | 148.3998 | 157.5075 | 137.5354 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable income | ₹ cr | 2550.8004 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.3441 | 171.182 | 176.8133 | 182.0109 | 186.9158 | 191.611 | 189.5001 | 187.2546 | 184.8888 | 182.4093 | 179.818 | 177.114 | 174.2941 | 171.3544 | 168.2899
Tax losses carried forward | ₹ cr |  |  | 505.0951 | 755.8069 | 851.7998 | 852.8914 | 794.9924 | 699.67 | 579.8866 | 443.4427 | 295.0429 | 137.5354 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax | ₹ cr | 642.0365 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8825 | 43.0865 | 44.5039 | 45.8121 | 47.0467 | 48.2285 | 47.6972 | 47.132 | 46.5365 | 45.9124 | 45.2602 | 44.5796 | 43.8698 | 43.1299 | 42.3586
Profit after tax | ₹ cr | 2051.7312 |  | 70.7428 | 75.6478 | 80.4921 | 85.272 | 89.9834 | 94.6217 | 99.1819 | 103.6585 | 108.0454 | 112.3355 | 109.6384 | 77.5059 | 80.0355 | 82.5369 | 84.9592 | 87.2623 | 84.4379 | 81.4185 | 78.1559 | 74.5835 | 70.5992 | 66.029 | 60.53 | 53.2517 | 40.8062
Cash flow
Receivables | ₹ cr |  |  | 30.6709 | 30.6128 | 30.5546 | 30.4965 | 30.4384 | 30.3802 | 30.3221 | 30.264 | 30.2058 | 30.1477 | 30.0896 | 30.0314 | 29.9733 | 29.9152 | 29.857 | 29.7989 | 29.7408 | 29.6826 | 29.6245 | 29.5664 | 29.5082 | 29.4501 | 29.3919 | 29.3338 | 29.2757
Increase in working capital | ₹ cr | 29.2757 |  | 30.6709 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135
Cash flow available for debt service (CFADS) | ₹ cr | 4243.5446 |  | 196.6872 | 215.9494 | 214.5908 | 213.1878 | 211.7382 | 210.2398 | 208.6899 | 207.0862 | 205.4259 | 203.7061 | 195.0414 | 156.9897 | 153.6557 | 150.3587 | 147.0595 | 143.7334 | 142.0368 | 140.2862 | 138.4737 | 136.593 | 134.6387 | 132.6062 | 130.4906 | 128.2876 | 125.9924
Less: debt service | ₹ cr | 1904.6947 |  | 173.4896 | 166.8453 | 160.2011 | 153.5568 | 146.9125 | 140.2682 | 133.6239 | 126.9796 | 120.3354 | 113.6911 | 107.0468 | 100.4025 | 93.7582 | 87.1139 | 80.4697 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSCR | × |  | 1: 1.1337; 2: 1.2943; 3: 1.3395; 4: 1.3883; 5: 1.4413; 6: 1.4988; 7: 1.5618; 8: 1.6309; 9: 1.7071; 10: 1.7918; 11: 1.822; 12: 1.5636; 13: 1.6389; 14: 1.726; 15: 1.8275
Salvage and receivables released (final year) | ₹ cr | 187.4729 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 187.4729
Debt still owed, repaid in the final year | ₹ cr | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Equity cash flow (year 0: the equity put in) | ₹ cr | 2526.3229 | -474.5917 | 23.1976 | 49.1041 | 54.3897 | 59.631 | 64.8257 | 69.9715 | 75.066 | 80.1066 | 85.0905 | 90.015 | 87.9946 | 56.5871 | 59.8975 | 63.2447 | 66.5898 | 143.7334 | 142.0368 | 140.2862 | 138.4737 | 136.593 | 134.6387 | 132.6062 | 130.4906 | 128.2876 | 313.4653
Cumulative equity cash | ₹ cr |  | -474.5917 | -451.3941 | -402.2901 | -347.9003 | -288.2693 | -223.4436 | -153.472 | -78.406 | 1.7005 | 86.791 | 176.806 | 264.8006 | 321.3878 | 381.2852 | 444.53 | 511.1198 | 654.8532 | 796.8899 | 937.1761 | 1075.6498 | 1212.2428 | 1346.8815 | 1479.4877 | 1609.9783 | 1738.2659 | 2051.7312
Equity paid back by this year | year | [9 empty] | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Tax on the unlevered project | ₹ cr | 986.879 |  | 0 | 0 | 0 | 19.7936 | 32.9692 | 40.7163 | 45.2008 | 47.7219 | 49.0588 | 49.6788 | 49.862 | 49.776 | 49.521 | 49.1569 | 48.7191 | 48.2285 | 47.6972 | 47.132 | 46.5365 | 45.9124 | 45.2602 | 44.5796 | 43.8698 | 43.1299 | 42.3586
Project cash flow (year 0: the project cost) | ₹ cr | 4086.175 | -1581.9723 | 196.6872 | 215.9494 | 214.5908 | 193.3942 | 178.769 | 169.5234 | 163.4892 | 159.3643 | 156.3671 | 154.0272 | 152.0619 | 150.3002 | 148.6386 | 147.014 | 145.3871 | 143.7334 | 142.0368 | 140.2862 | 138.4737 | 136.593 | 134.6387 | 132.6062 | 130.4906 | 128.2876 | 313.4653
Levelised cost and tariff
Operating cost and augmentation | ₹ cr | 1163.0616 |  | 21.4171 | 32.4124 | 33.2995 | 34.2309 | 35.209 | 36.2359 | 37.3142 | 38.4464 | 39.6352 | 40.8834 | 42.1941 | 43.5703 | 45.0153 | 46.5325 | 48.1256 | 49.7984 | 51.5548 | 53.399 | 55.3354 | 57.3687 | 59.5036 | 61.7453 | 64.099 | 66.5704 | 69.1655
Discounted | ₹ cr | 356.256 |  | 19.4701 | 26.7871 | 25.0184 | 23.3802 | 21.862 | 20.4542 | 19.1481 | 17.9355 | 16.8092 | 15.7623 | 14.7888 | 13.8828 | 13.0393 | 12.2535 | 11.5209 | 10.8376 | 10.1998 | 9.6043 | 9.0478 | 8.5275 | 8.0408 | 7.5852 | 7.1585 | 6.7586 | 6.3837
Delivered energy, discounted | MU | 3502.6996 |  | 353.9109 | 321.3586 | 291.8 | 264.9599 | 240.5882 | 218.458 | 198.3631 | 180.1164 | 163.5479 | 148.5033 | 134.8424 | 122.4381 | 111.1747 | 100.9472 | 91.6606 | 83.2281 | 75.5713 | 68.6188 | 62.3058 | 56.5735 | 51.3686 | 46.6425 | 42.3511 | 38.4545 | 34.9163
PPA supply revenue, discounted | ₹ cr | 2467.0802 |  | 249.2725 | 226.3447 | 205.5255 | 186.621 | 169.4551 | 153.868 | 139.7144 | 126.8626 | 115.1928 | 104.5963 | 94.9745 | 86.2376 | 78.3044 | 71.1009 | 64.5599 | 58.6206 | 53.2276 | 48.3307 | 43.8843 | 39.8468 | 36.1808 | 32.852 | 29.8294 | 27.0849 | 24.5929
Returns
Equity IRR | % | 14%
Project IRR | % | 9.96%
Equity NPV at the target IRR | ₹ cr | 5.3291e-14
Project NPV at the discount rate | ₹ cr | -4.4147
Minimum DSCR | × | 1.1337
Average DSCR | × | 1.5577
Levelised cost of supply (project cost + discounted costs) ÷ discounted energy | ₹/kWh | 5.5335
Levelised tariff | ₹/kWh | 7.0434
Equity payback | year | 8
Checks
Debt + equity = project cost |  | OK
Debt repaid by the end of the loan tenor |  | OK
Revenue − operating cost = EBITDA over the term |  | OK
Tax losses never negative |  | OK
Equity IRR meets the target |  | OK
Minimum DSCR at least 1.0 |  | OK
Note on A49: Escalates with O&M
Note on A55: On the energy short of each time-block's floor, at this multiple of the year's tariff (SECI RTC-TM: 1.5)
Note on A70: wdv: written-down value at the WDV rate; slm: the book depreciation
Note on A87: The PPA term the optimiser dispatched; one column per year
Note on A99: Each hour's energy below its floor (peak and off-peak blocks), from the dispatch
Note on A111: Delivered MU × tariff ₹/kWh ÷ 10 = ₹ crore
Note on A114: Energy short of the block floors × multiple × the year's tariff
Note on A118: Size × ₹ lakh ÷ 100 = ₹ crore, escalated
Note on A119: Size × ₹ lakh ÷ 100 = ₹ crore, escalated
Note on A120: Size × ₹ lakh ÷ 100 = ₹ crore, escalated
Note on A128: annual: each year from year 2 replaces the year's fade (MWh × fade × the year's battery price); oneTime: the fade to that year (at most 60%), once
Note on A132: Augmentation is depreciated over the years left
Note on A154: EBITDA − interest − tax depreciation
Note on A163: Revenue × receivable days ÷ 365, held at the year end
Note on A165: EBITDA − tax − working capital − battery augmentation
Note on A172: The payback year is the first year marked here
Note on A173: The project IRR's tax: no interest shield, no losses carried

## Tender conditions
Condition | Tender says | Page | Quote | Plant and bid | Status
Bid capacity | 1,000 MW; one bidder 50–500 MW | 1 | a minimum quantum of cumulative Contracted Capacity of 50 MW and a maximum quantum of 500 MW | 50 MW bid | Met
Peak Hours floor (every block) | At least 90% of contracted capacity in every peak time-block; shortfall costs 1.5 × tariff | 2 | (i) a minimum DFR of 90% in each time-block during the Peak Hours | 83.8% of the hours at the floor; 27.34 MU short in the worst modelled year | Noted
Off-peak floor (every block) | At least 70% of contracted capacity in every off-peak time-block; shortfall costs 1.5 × tariff | 2 | (ii) a minimum DFR of 70% in each time-block during the off-Peak Hours. | 99.1% of the hours at the floor; 0.10 MU short in the worst modelled year | Noted
Peak hours | Any 6 of the 16 hours (the Buying Entity picks 6 hours between 18:00 and 10:00, day-ahead) a day | 2 | The Buying Entity shall choose any 6 hours, on a daily basis, between 18:00 Hrs. in the evening of a day and 10:00 Hrs. in the morning of the subsequent day | Checked in the chosen window | Met
Energy storage | Mandatory | 2 | Energy Storage Systems (ESS) shall mandatorily constitute part of the Project. It is clarified that ESS charged using a source other than RE power would not qualify as RE power. | 106 MW / 423 MWh | Met
What may be sold in the market | Free to sell to any third party or power exchange, no NOC needed | 19 | the SECI/RPD is free to sell power in excess of the Contracted Capacity in any time-block, to any third party or power exchange, without requiring any NOC from Buying Entity. | Nothing sold | Met
PPA term | 25 years | 34 | The PPAs shall be valid for a period of 25 years from the SCSD. | Modelled and financed over 25 years | Met
Ceiling tariff | Not stated | 60 | SECI reserves the right to cancel any or all of the bids in view of higher tariff discovered after e-RA. | Bid tariff ₹7.043/kWh | Not required
Supply start | 07.08.2028 | 2 | The Scheduled Commencement of Supply Date (SCSD) for supplying power from the full Project capacity shall be the date as on 24 months from the Effective Date of the PPA | Build schedule is not modelled | Noted

## Inputs
Group | Input | Value | Unit | Source
Bid | Bid capacity | 50 | MW | Your input
Bid | Sized for the greenshoe | No |  | Your input
Solar | Capacity | automatic limit | MW | Upper limit for the optimizer
Solar | CUF (AC) | 25% | % | Industry benchmark
Solar | DC:AC ratio | 1.4 | MWp/MWac | Industry benchmark
Solar | Annual degradation | 0.5% | % | Industry benchmark
Solar | Capex per MWac | 4 | ₹ cr/MWac | Industry benchmark
Solar | O&M per MWac | 4 | ₹ lakh/MWac/yr | Industry benchmark
Wind | Capacity | automatic limit | MW | Upper limit for the optimizer
Wind | CUF | 33% | % | Industry benchmark
Wind | Capex | 6.5 | ₹ cr/MW | Industry benchmark
Wind | O&M | 9 | ₹ lakh/MW/yr | Industry benchmark
Battery storage | Capacity | automatic limit | MW | Upper limit for the optimizer
Battery storage | Discharge duration | 4 hours |  | Industry benchmark
Battery storage | Round-trip efficiency | 87% | % | Industry benchmark
Battery storage | Minimum state of charge | 5% | % | Industry benchmark
Battery storage | Maximum state of charge | 95% | % | Industry benchmark
Battery storage | Capacity fade | 2% | % | Industry benchmark
Battery storage | Augmentation | Every year |  | Industry benchmark
Battery storage | Capex | 1.2 | ₹ cr/MWh | Industry benchmark
Battery storage | O&M | 1.2 | ₹ lakh/MWh/yr | Industry benchmark
Financing | Target equity IRR | 14% | % | Industry benchmark
Financing | Debt share | 70% | % | Industry benchmark
Financing | Interest rate | 9% | % | Industry benchmark
Financing | Loan tenor | 15 | years | Industry benchmark
Financing | Corporate tax | 25.17% | % | Industry benchmark
Financing | O&M escalation | 5% | % | Industry benchmark
Financing | Insurance | 0.3% | % | Industry benchmark
Financing | Tariff escalation | 0% | % | Industry benchmark
Financing | Pre-operative & IDC | 5% | % | Industry benchmark
Financing | Transmission / evacuation | 0 | ₹ cr | Industry benchmark
Financing | Repayment | equal |  | Model default (editable on Financials)
Financing | Tax depreciation | wdv |  | Model default (editable on Financials)
Financing | WDV rate | 40% | % | Model default (editable on Financials)
Financing | Book life | 25 | years | Model default (editable on Financials)
Financing | Salvage value | 10% | % | Model default (editable on Financials)
Financing | Receivable days | 45 | days | Model default (editable on Financials)
Financing | Discount rate (LCOE, NPV) | 10% | % | Model default (editable on Financials)
Market | Sell in the market | No |  | Industry benchmark

## Plant and capex
Item | Value | Note
Contracted capacity (MW) | 50 | bid capacity
Solar (MW) | 130.7788 | sized by the optimizer
Wind (MW) | 73.2316 | sized by the optimizer
Battery power (MW) | 105.7333
Battery energy (MWh) | 422.9334
Capex | ₹ crore | Note
Solar | 549.2709
Wind | 499.8054
Battery storage | 532.8961
Transmission / evacuation | 0
Total project cost (incl. pre-operative & IDC) | 1581.9723 | pre-operative 5.0% of hard cost
Debt | 1107.3806 | 70%
Equity | 474.5917

## Revenue and costs (values)
₹ crore unless stated | Unit | Total | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25
Energy and tariff
Contracted energy | MU | 10950 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438
Delivered to the procurer | MU | 9595.1267 | 389.302 | 388.8439 | 388.3858 | 387.9278 | 387.4697 | 387.0116 | 386.5535 | 386.0955 | 385.6374 | 385.1793 | 384.7212 | 384.2631 | 383.8051 | 383.347 | 382.8889 | 382.4308 | 381.9728 | 381.5147 | 381.0566 | 380.5985 | 380.1405 | 379.6824 | 379.2243 | 378.7662 | 378.3081
Delivered ÷ contracted |  |  | 88.88% | 88.78% | 88.67% | 88.57% | 88.46% | 88.36% | 88.25% | 88.15% | 88.05% | 87.94% | 87.84% | 87.73% | 87.63% | 87.52% | 87.42% | 87.31% | 87.21% | 87.1% | 87% | 86.89% | 86.79% | 86.69% | 86.58% | 86.48% | 86.37%
Sold in the market | MU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tariff | ₹/kWh |  | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434
Revenue
PPA supply revenue |  | 6758.2007 | 274.1997 | 273.8771 | 273.5544 | 273.2318 | 272.9092 | 272.5865 | 272.2639 | 271.9412 | 271.6186 | 271.296 | 270.9733 | 270.6507 | 270.328 | 270.0054 | 269.6827 | 269.3601 | 269.0375 | 268.7148 | 268.3922 | 268.0695 | 267.7469 | 267.4243 | 267.1016 | 266.779 | 266.4563
Market sale revenue |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Shortfall penalty |  | 680.2823 | 25.4245 | 25.5734 | 25.7223 | 25.8712 | 26.0201 | 26.169 | 26.3179 | 26.4668 | 26.6157 | 26.7646 | 26.9135 | 27.0624 | 27.2113 | 27.3602 | 27.5091 | 27.658 | 27.8069 | 27.9558 | 28.1047 | 28.2536 | 28.4025 | 28.5514 | 28.7003 | 28.8492 | 28.9981
Total revenue |  | 6077.9184 | 248.7752 | 248.3037 | 247.8321 | 247.3606 | 246.8891 | 246.4175 | 245.946 | 245.4744 | 245.0029 | 244.5314 | 244.0598 | 243.5883 | 243.1167 | 242.6452 | 242.1737 | 241.7021 | 241.2306 | 240.759 | 240.2875 | 239.816 | 239.3444 | 238.8729 | 238.4013 | 237.9298 | 237.4583
Operating costs
O&M |  | 806.454 | 16.8972 | 17.7421 | 18.6292 | 19.5606 | 20.5386 | 21.5656 | 22.6439 | 23.776 | 24.9648 | 26.2131 | 27.5237 | 28.8999 | 30.3449 | 31.8622 | 33.4553 | 35.128 | 36.8845 | 38.7287 | 40.6651 | 42.6984 | 44.8333 | 47.0749 | 49.4287 | 51.9001 | 54.4951
Insurance |  | 112.998 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199
Other fixed cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total operating cost |  | 919.452 | 21.4171 | 22.262 | 23.1491 | 24.0805 | 25.0586 | 26.0855 | 27.1638 | 28.296 | 29.4848 | 30.733 | 32.0437 | 33.4199 | 34.8649 | 36.3821 | 37.9752 | 39.648 | 41.4044 | 43.2486 | 45.185 | 47.2183 | 49.3532 | 51.5949 | 53.9486 | 56.42 | 59.0151
Capital spend in operation
Battery augmentation |  | 243.6096 | 0 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504

## Financial model (values)
₹ crore unless stated | Unit | Total | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25
Energy and tariff
Contracted energy | MU | 10950 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438 | 438
Delivered to the procurer | MU | 9595.1267 | 389.302 | 388.8439 | 388.3858 | 387.9278 | 387.4697 | 387.0116 | 386.5535 | 386.0955 | 385.6374 | 385.1793 | 384.7212 | 384.2631 | 383.8051 | 383.347 | 382.8889 | 382.4308 | 381.9728 | 381.5147 | 381.0566 | 380.5985 | 380.1405 | 379.6824 | 379.2243 | 378.7662 | 378.3081
Delivered ÷ contracted |  |  | 88.88% | 88.78% | 88.67% | 88.57% | 88.46% | 88.36% | 88.25% | 88.15% | 88.05% | 87.94% | 87.84% | 87.73% | 87.63% | 87.52% | 87.42% | 87.31% | 87.21% | 87.1% | 87% | 86.89% | 86.79% | 86.69% | 86.58% | 86.48% | 86.37%
Sold in the market | MU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tariff | ₹/kWh |  | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434 | 7.0434
Revenue
PPA supply revenue |  | 6758.2007 | 274.1997 | 273.8771 | 273.5544 | 273.2318 | 272.9092 | 272.5865 | 272.2639 | 271.9412 | 271.6186 | 271.296 | 270.9733 | 270.6507 | 270.328 | 270.0054 | 269.6827 | 269.3601 | 269.0375 | 268.7148 | 268.3922 | 268.0695 | 267.7469 | 267.4243 | 267.1016 | 266.779 | 266.4563
Market sale revenue |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Shortfall penalty |  | 680.2823 | 25.4245 | 25.5734 | 25.7223 | 25.8712 | 26.0201 | 26.169 | 26.3179 | 26.4668 | 26.6157 | 26.7646 | 26.9135 | 27.0624 | 27.2113 | 27.3602 | 27.5091 | 27.658 | 27.8069 | 27.9558 | 28.1047 | 28.2536 | 28.4025 | 28.5514 | 28.7003 | 28.8492 | 28.9981
Total revenue |  | 6077.9184 | 248.7752 | 248.3037 | 247.8321 | 247.3606 | 246.8891 | 246.4175 | 245.946 | 245.4744 | 245.0029 | 244.5314 | 244.0598 | 243.5883 | 243.1167 | 242.6452 | 242.1737 | 241.7021 | 241.2306 | 240.759 | 240.2875 | 239.816 | 239.3444 | 238.8729 | 238.4013 | 237.9298 | 237.4583
Operating costs
O&M |  | 806.454 | 16.8972 | 17.7421 | 18.6292 | 19.5606 | 20.5386 | 21.5656 | 22.6439 | 23.776 | 24.9648 | 26.2131 | 27.5237 | 28.8999 | 30.3449 | 31.8622 | 33.4553 | 35.128 | 36.8845 | 38.7287 | 40.6651 | 42.6984 | 44.8333 | 47.0749 | 49.4287 | 51.9001 | 54.4951
Insurance |  | 112.998 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199 | 4.5199
Other fixed cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total operating cost |  | 919.452 | 21.4171 | 22.262 | 23.1491 | 24.0805 | 25.0586 | 26.0855 | 27.1638 | 28.296 | 29.4848 | 30.733 | 32.0437 | 33.4199 | 34.8649 | 36.3821 | 37.9752 | 39.648 | 41.4044 | 43.2486 | 45.185 | 47.2183 | 49.3532 | 51.5949 | 53.9486 | 56.42 | 59.0151
Profit and loss
EBITDA |  | 5158.4664 | 227.3581 | 226.0417 | 224.6831 | 223.2801 | 221.8305 | 220.332 | 218.7822 | 217.1785 | 215.5181 | 213.7983 | 212.0161 | 210.1684 | 208.2519 | 206.2631 | 204.1985 | 202.0541 | 199.8262 | 197.5104 | 195.1025 | 192.5977 | 189.9912 | 187.278 | 184.4527 | 181.5097 | 178.4432
Book depreciation |  | 1667.3847 | 56.951 | 57.3739 | 57.8153 | 58.2766 | 58.76 | 59.2675 | 59.8017 | 60.3657 | 60.9627 | 61.5971 | 62.2738 | 62.9989 | 63.7797 | 64.6255 | 65.5483 | 66.5633 | 67.6912 | 68.96 | 70.41 | 72.1017 | 74.1318 | 76.6694 | 80.0529 | 85.1281 | 95.2785
Interest |  | 797.3141 | 99.6643 | 93.02 | 86.3757 | 79.7314 | 73.0871 | 66.4428 | 59.7986 | 53.1543 | 46.51 | 39.8657 | 33.2214 | 26.5771 | 19.9329 | 13.2886 | 6.6443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Profit before tax |  | 2693.7676 | 70.7428 | 75.6478 | 80.4921 | 85.272 | 89.9834 | 94.6217 | 99.1819 | 103.6585 | 108.0454 | 112.3355 | 116.5209 | 120.5924 | 124.5394 | 128.349 | 132.0059 | 135.4908 | 132.1351 | 128.5505 | 124.6925 | 120.4959 | 115.8594 | 110.6086 | 104.3998 | 96.3817 | 83.1647
Tax depreciation |  | 1810.3519 | 632.7889 | 383.7335 | 234.3003 | 144.6403 | 90.8444 | 58.5668 | 39.2002 | 27.5803 | 20.6083 | 16.4252 | 13.9153 | 12.4093 | 11.5057 | 10.9636 | 10.6383 | 10.4432 | 10.3261 | 10.2558 | 10.2136 | 10.1883 | 10.1732 | 10.1641 | 10.1586 | 10.1553 | 10.1534
Tax |  | 642.0365 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8825 | 43.0865 | 44.5039 | 45.8121 | 47.0467 | 48.2285 | 47.6972 | 47.132 | 46.5365 | 45.9124 | 45.2602 | 44.5796 | 43.8698 | 43.1299 | 42.3586
Profit after tax |  | 2051.7312 | 70.7428 | 75.6478 | 80.4921 | 85.272 | 89.9834 | 94.6217 | 99.1819 | 103.6585 | 108.0454 | 112.3355 | 109.6384 | 77.5059 | 80.0355 | 82.5369 | 84.9592 | 87.2623 | 84.4379 | 81.4185 | 78.1559 | 74.5835 | 70.5992 | 66.029 | 60.53 | 53.2517 | 40.8062
Cash flow
Receivables | ₹ cr |  | 30.6709 | 30.6128 | 30.5546 | 30.4965 | 30.4384 | 30.3802 | 30.3221 | 30.264 | 30.2058 | 30.1477 | 30.0896 | 30.0314 | 29.9733 | 29.9152 | 29.857 | 29.7989 | 29.7408 | 29.6826 | 29.6245 | 29.5664 | 29.5082 | 29.4501 | 29.3919 | 29.3338 | 29.2757
Working capital change |  | 29.2757 | 30.6709 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135 | -0.058135
Battery augmentation |  | 243.6096 | 0 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504 | 10.1504
CFADS |  | 4243.5446 | 196.6872 | 215.9494 | 214.5908 | 213.1878 | 211.7382 | 210.2398 | 208.6899 | 207.0862 | 205.4259 | 203.7061 | 195.0414 | 156.9897 | 153.6557 | 150.3587 | 147.0595 | 143.7334 | 142.0368 | 140.2862 | 138.4737 | 136.593 | 134.6387 | 132.6062 | 130.4906 | 128.2876 | 125.9924
Debt service |  | 1904.6947 | 173.4896 | 166.8453 | 160.2011 | 153.5568 | 146.9125 | 140.2682 | 133.6239 | 126.9796 | 120.3354 | 113.6911 | 107.0468 | 100.4025 | 93.7582 | 87.1139 | 80.4697 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Free cash to equity |  | 2526.3229 | 23.1976 | 49.1041 | 54.3897 | 59.631 | 64.8257 | 69.9715 | 75.066 | 80.1066 | 85.0905 | 90.015 | 87.9946 | 56.5871 | 59.8975 | 63.2447 | 66.5898 | 143.7334 | 142.0368 | 140.2862 | 138.4737 | 136.593 | 134.6387 | 132.6062 | 130.4906 | 128.2876 | 313.4653
Cumulative equity cash | ₹ cr |  | -451.3941 | -402.2901 | -347.9003 | -288.2693 | -223.4436 | -153.472 | -78.406 | 1.7005 | 86.791 | 176.806 | 264.8006 | 321.3878 | 381.2852 | 444.53 | 511.1198 | 654.8532 | 796.8899 | 937.1761 | 1075.6498 | 1212.2428 | 1346.8815 | 1479.4877 | 1609.9783 | 1738.2659 | 2051.7312
Project cash flow |  | 4086.175 | 196.6872 | 215.9494 | 214.5908 | 193.3942 | 178.769 | 169.5234 | 163.4892 | 159.3643 | 156.3671 | 154.0272 | 152.0619 | 150.3002 | 148.6386 | 147.014 | 145.3871 | 143.7334 | 142.0368 | 140.2862 | 138.4737 | 136.593 | 134.6387 | 132.6062 | 130.4906 | 128.2876 | 313.4653
Debt
Opening debt | ₹ cr |  | 1107.3806 | 1033.5553 | 959.7299 | 885.9045 | 812.0791 | 738.2538 | 664.4284 | 590.603 | 516.7776 | 442.9523 | 369.1269 | 295.3015 | 221.4761 | 147.6508 | 73.8254 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest |  | 797.3141 | 99.6643 | 93.02 | 86.3757 | 79.7314 | 73.0871 | 66.4428 | 59.7986 | 53.1543 | 46.51 | 39.8657 | 33.2214 | 26.5771 | 19.9329 | 13.2886 | 6.6443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal |  | 1107.3806 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 73.8254 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing debt | ₹ cr |  | 1033.5553 | 959.7299 | 885.9045 | 812.0791 | 738.2538 | 664.4284 | 590.603 | 516.7776 | 442.9523 | 369.1269 | 295.3015 | 221.4761 | 147.6508 | 73.8254 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSCR | × |  | 1.1337 | 1.2943 | 1.3395 | 1.3883 | 1.4413 | 1.4988 | 1.5618 | 1.6309 | 1.7071 | 1.7918 | 1.822 | 1.5636 | 1.6389 | 1.726 | 1.8275
Returns (year 0 is the investment)
Cash flow | Unit | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25
Equity cash flow | ₹ cr | -474.5917 | 23.1976 | 49.1041 | 54.3897 | 59.631 | 64.8257 | 69.9715 | 75.066 | 80.1066 | 85.0905 | 90.015 | 87.9946 | 56.5871 | 59.8975 | 63.2447 | 66.5898 | 143.7334 | 142.0368 | 140.2862 | 138.4737 | 136.593 | 134.6387 | 132.6062 | 130.4906 | 128.2876 | 313.4653
Project cash flow | ₹ cr | -1581.9723 | 196.6872 | 215.9494 | 214.5908 | 193.3942 | 178.769 | 169.5234 | 163.4892 | 159.3643 | 156.3671 | 154.0272 | 152.0619 | 150.3002 | 148.6386 | 147.014 | 145.3871 | 143.7334 | 142.0368 | 140.2862 | 138.4737 | 136.593 | 134.6387 | 132.6062 | 130.4906 | 128.2876 | 313.4653
Equity IRR | 14%
Project IRR | 9.96%
Equity NPV at the target IRR (₹ cr) | 8.1712e-14
Minimum DSCR | 1.1337
Average DSCR | 1.5577
Equity payback (year) | 8